| ACTIVITIES | HAZARDS | STATUS(N/A/ E) | CONSEQUENCES | WHO MAY BE AFFECTED | LC | EXISTING CONTROL MEASURE | SEVERITY | LIKELIHOOD | RISK RATING | RESULT | ACTION PLAN | SEVERITY | LIKELIHOOD | RISK RATING | Result |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Mobilization to site | Hit by Vehicle/Truck |  | Body injury | The workers |  | Adherence to walkway Site induction | 4 | 2 | 8 | M | Adherence to Safety sign. Adequate supervision | 4 | 1 | 4 | L |
|  | Slip, Trip and fall |  | Body injury | Workers |  | Adherence to walkway Site induction | 4 | 2 | 8 | M | Adherence to Safety sign. Adequate supervision | 4 | 1 | 4 | L |
| Erection of Scaffold | Slip, Trip and fall from height |  | Body injury, fatality | The workers |  | Use of helmet with chin strap. Use of body harness and Anchor it. Use of Steel toed safety shoes. Use of hand gloves Use of coverall. Ensure proper erection of scaffold on a solid ground Installation of foot board, mid rails, Guide rails and secure to existing building. Ensure proper tightening of clips and joiners. Use of rope to lift and drop materials. Good housekeeping. Use of competent and trained personnel. Installation of access ladder to the scaffold. Work will be stop if weather condition is change (i.e. when rain wanted to fall) | 3 | 3 | 9 | M | Use of Three (3) point contact when ascending and descending from the scaffold through the access ladder provided. Keep the area organized and clear, build properly. Adequate supervision by the site supervisor and safety personnel Ensure guard rails , mid rails and toe boards are installed | 3 | 2 | 6 | L |
|  | Collapsing of scaffolding |  | Body injury | Scaffolders, other workers, passers-by |  | Use of competent scaffolders Use of adequate scaffolding pipes. Barricade the work area | 3 | 3 | 9 | M | Proper inspection of scaffolding pipes/materials Proper job supervision | 2 | 2 | 4 | L |
|  | Falling Object |  | Head Injury | Other workers |  | Use of rope to transfer objects Barricade the work area Use of helmet with chin strap | 3 | 3 | 9 | M | Ensure proper job supervision Do not throw an object from height. | 2 | 2 | 4 | L |
| Fixing of cladding and Roofing sheet | Slip, Trip and fall from height |  | Body injury or fatality | The workers |  | Use of helmet with chin strap, body harness, rainboot. Use of lifeline. Use of hand gloves, use of coverall. Good housekeeping. Barricading work area. Use of competent and trained personnel. Ensure you observe mini break at intervals | 4 | 4 | 16 | H | Ensure proper job supervision Ensure the proper platform are placed. | 3 | 2 | 6 | L |
|  | Falling Object |  | Head Injury | Other workers |  | Use of rope to transfer objects Barricade the work area Use of helmet with chin strap | 3 | 3 | 9 | M | Ensure proper job supervision Do not throw an object from height. | 2 | 2 | 4 | L |
| Dismantling of scaffolds De-mobilization. | Slip, Trip and fall from height |  | Body injury or fatality | The workers |  | Use of helmet with chin strap, body harness, rainboot. Use of hand gloves, use of coverall. Do not throw any object from height. Good housekeeping. Use of competent and trained personnel. Take a break. | 3 | 3 | 9 | M | Use of Three 3 point contact when ascending and descending from the scaffold. Keep the area organized and clear, build properly.. | 3 | 2 | 6 | L |
|  | Hit by Vehicle/Truck. |  | Body injury | The workers |  | Adherence to work way. Site induction. | 4 | 2 | 8 | M | Adherence to Safety sign. Adequate supervision. | 4 | 1 | 4 | L |

|  |  | # Hazard Severity (S) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | # 1. Negligible Negligible Injury - no absence from work | # 2. Slight Minor injury requiring first aid treatment | # 3. Moderate Injury leading to lost time accident | # 4. High Involving single death or serious injury | # 5. Very High Multiple deaths |
| Likelihood of occurrence (L) | 1. Very Unlikely A freak combination of factors would be required for an incident to result | Low (1) | Low (2) | Low (3) | Low (4) | Low (5) |
|  | 2. Unlikely A rare combination of factors would be requires for an incident to result | Low (2) | Low (4) | Low (6) | Medium (8) | Medium (10) |
|  | 3. Possible Could happen when additional factors are present but otherwise unlikely to occur. | Low (3) | Low (6) | Medium (9) | Medium (12) | High (15) |
|  | 4. Likely Not certain to happen but an additional factor may result in an accident | Low (4) | Medium (8) | Medium (12) | High (16) | High (20) |
|  | 5. Very Likely Almost inevitable that an incident would result | Low (5) | Medium (10) | High (15) | High (20) | High (25) |

| Low 1 – 6 | May be acceptable – however review task to see if risk can be reduced further. |
| --- | --- |
| Medium 8 – 12 | Task should only proceed with appropriate management authorization after consultation with specialist personnel and assessment team. Where possible the task should be redefined to take account of the hazards involved or the risk should be reduced further prior to task commencement |
| High 15 - 25 | Task must not proceed. It should be redefined or further control measures put in place to reduce risk. The controls should be re-assessed for adequacy prior to task commencement |